## komentarz
[Kontrola Użytkowników] wynik wykonania komendy : powodzenie	Local HMI	LW_Bit	895100		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : niepoprawna komenda	Local HMI	LW_Bit	895101		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : konto istnieje	Local HMI	LW_Bit	895102		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : konto nie istnieje	Local HMI	LW_Bit	895103		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : błąd hasła	Local HMI	LW_Bit	895104		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : odmowa	Local HMI	LW_Bit	895105		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : niepoprawna nazwa	Local HMI	LW_Bit	895106		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : niedopuszczalne znaki w haśle	Local HMI	LW_Bit	895107		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : niepoprawne dane importu	Local HMI	LW_Bit	895108		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy : poza zakresem ważności	Local HMI	LW_Bit	895109		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa A )	Local HMI	LW_Bit	895300		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa B )	Local HMI	LW_Bit	895301		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa C )	Local HMI	LW_Bit	895302		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa D )	Local HMI	LW_Bit	895303		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa E )	Local HMI	LW_Bit	895304		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa F )	Local HMI	LW_Bit	895305		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa G )	Local HMI	LW_Bit	895306		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa H )	Local HMI	LW_Bit	895307		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa I )	Local HMI	LW_Bit	895308		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa J )	Local HMI	LW_Bit	895309		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa K )	Local HMI	LW_Bit	895310		Nieokreślony
[Kontrola Użytkowników] przywileje (Klasa L )	Local HMI	LW_Bit	895311		Nieokreślony
[Kontrola Użytkowników] komenda	Local HMI	LW	8950		Nieokreślony
[Kontrola Użytkowników] wynik wykonania komendy	Local HMI	LW	8951		Nieokreślony
[Kontrola Użytkowników] indeks użytkownika	Local HMI	LW	8952		Nieokreślony
[Kontrola Użytkowników] przywileje użytkownika	Local HMI	LW	8953		Nieokreślony
[Kontrola Użytkowników] nazwa użytkownika	Local HMI	LW	8954		Nieokreślony
[Kontrola Użytkowników] hasło	Local HMI	LW	8962		Nieokreślony
Fast Selection Display	Local HMI	LB	8000		Nieokreślony
AlignmentMarkers	Local HMI	LB	8001		Nieokreślony
HMI_Process_IndicationRange_Port1	Local HMI	LB	1000		Nieokreślony
HMI_Process_IndicationRange_Port2	Local HMI	LB	1001		Nieokreślony
HMI_Process_IndicationRange_Port3	Local HMI	LB	1002		Nieokreślony
HMI_Process_IndicationRange_Port4	Local HMI	LB	1003		Nieokreślony
HMI_Process_IndicationRange_Port5	Local HMI	LB	1004		Nieokreślony
HMI_Process_IndicationRange_Port6	Local HMI	LB	1005		Nieokreślony
HMI_Process_IndicationRange_Port7	Local HMI	LB	1006		Nieokreślony
HMI_Process_IndicationRange_Port8	Local HMI	LB	1007		Nieokreślony
HMI_Process_IndicationRange_Port9	Local HMI	LB	1008		Nieokreślony
HMI_Process_IndicationRange_Port10	Local HMI	LB	1009		Nieokreślony
HMI_Process_IndicationSelected_Port1	Local HMI	LB	1020		Nieokreślony
HMI_Process_IndicationSelected_Port2	Local HMI	LB	1021		Nieokreślony
HMI_Process_IndicationSelected_Port3	Local HMI	LB	1022		Nieokreślony
HMI_Process_IndicationSelected_Port4	Local HMI	LB	1023		Nieokreślony
HMI_Process_IndicationSelected_Port5	Local HMI	LB	1024		Nieokreślony
HMI_Process_IndicationSelected_Port6	Local HMI	LB	1025		Nieokreślony
HMI_Process_IndicationSelected_Port7	Local HMI	LB	1026		Nieokreślony
HMI_Process_IndicationSelected_Port8	Local HMI	LB	1027		Nieokreślony
HMI_Process_IndicationSelected_Port9	Local HMI	LB	1028		Nieokreślony
HMI_Process_IndicationSelected_Port10	Local HMI	LB	1029		Nieokreślony
HMI_Limit_Pipe_Diameter_Low_Signed	Local HMI	RW	500		16-bit Signed
HMI_Limit_Pipe_Diameter_High_Signed	Local HMI	RW	501		16-bit Signed
HMI_Limit_Port_Diameter_Low_Signed	Local HMI	RW	502		16-bit Signed
HMI_Limit_Port_Diameter_High_Signed	Local HMI	RW	503		16-bit Signed
HMI_Limit_Port_Thickness_Low_Signed	Local HMI	RW	504		16-bit Signed
HMI_Limit_Port_Thickness_High_Signed	Local HMI	RW	505		16-bit Signed
HMI_Limit_Port_Distance_Low_Signed	Local HMI	RW	506		16-bit Signed
HMI_Limit_Port_Distance_High_Signed	Local HMI	RW	507		16-bit Signed
HMI_Limit_Port_Number_Low_Signed	Local HMI	RW	508		16-bit Signed
HMI_Limit_Port_Number_High_Signed	Local HMI	RW	509		16-bit Signed
HMI_Limit_Pipe_Diameter_Low_DBL	Local HMI	RW	700		64-bit Double
HMI_Limit_Pipe_Diameter_High_DBL	Local HMI	RW	704		64-bit Double
HMI_Limit_Port_Diameter_Low_DBL	Local HMI	RW	708		64-bit Double
HMI_Limit_Port_Diameter_High_DBL	Local HMI	RW	712		64-bit Double
HMI_Limit_Port_Thickness_Low_DBL	Local HMI	RW	716		64-bit Double
HMI_Limit_Port_Thickness_High_DBL	Local HMI	RW	720		64-bit Double
HMI_Limit_Port_Distance_Low_DBL	Local HMI	RW	724		64-bit Double
HMI_Limit_Port_Distance_High_DBL	Local HMI	RW	728		64-bit Double
Process_Plan_Name	Local HMI	RW	1000		Nieokreślony
Process_Element_Name	Local HMI	RW	1100		Nieokreślony
Process_Plan_Element_AmmountToExecute	Local HMI	RW	1300		Nieokreślony
Process_Plan_ElementsCount	Local HMI	RW	1301		Nieokreślony
Process_Element_Description	Local HMI	RW	1200		Nieokreślony
Process_Plan_PlanID	Local HMI	RW	1302		Nieokreślony
MySQL_Command_Select	Local HMI	RW	1310		Nieokreślony
Process_Plan_Description	Local HMI	RW	1400		Nieokreślony
MySQL_Command_Row	Local HMI	RW	1331		Nieokreślony
Process_Element_Selected	Local HMI	RW	1303		Nieokreślony
MySQL_Command_Status	Local HMI	RW	1332		Nieokreślony
MySQL_Command_Error	Local HMI	RW	1333		Nieokreślony
MySQL_Command_ErrorMessage	Local HMI	RW	1334		Nieokreślony
MySQL_Command_Count	Local HMI	RW	1378		Nieokreślony
Process_Pipe_Name	Local HMI	RW	1500		Nieokreślony
Process_Port_Name	Local HMI	RW	1600		Nieokreślony
MySQL_Job_DateForIdentyfication	Local HMI	RW	100		Nieokreślony
MySQL_Job_ListInDB1	Local HMI	RW	1700		Nieokreślony
MySQL_Job_ListInDB2	Local HMI	RW	1800		Nieokreślony
MySQL_Job_ListInDB3	Local HMI	RW	1900		Nieokreślony
MySQL_Job_ListInDB4	Local HMI	RW	2000		Nieokreślony
MySQL_Job_ListInDB5	Local HMI	RW	2100		Nieokreślony
MySQL_Job_ListInDB6	Local HMI	RW	2200		Nieokreślony
MySQL_Job_ListInDB7	Local HMI	RW	2300		Nieokreślony
MySQL_Job_ListInDB8	Local HMI	RW	2400		Nieokreślony
MySQL_Job_ListInDB9	Local HMI	RW	2400		Nieokreślony
MySQL_Job_ListInDB10	Local HMI	RW	10000		Nieokreślony
MySQL_Elements_ListInDB1	Local HMI	RW	10100		Nieokreślony
MySQL_Elements_ListInDB2	Local HMI	RW	10200		Nieokreślony
MySQL_Elements_ListInDB3	Local HMI	RW	10300		Nieokreślony
MySQL_Elements_ListInDB4	Local HMI	RW	10400		Nieokreślony
MySQL_Elements_ListInDB5	Local HMI	RW	10500		Nieokreślony
MySQL_Elements_ListInDB6	Local HMI	RW	10600		Nieokreślony
MySQL_Elements_ListInDB7	Local HMI	RW	10700		Nieokreślony
MySQL_Elements_ListInDB8	Local HMI	RW	10800		Nieokreślony
MySQL_Elements_ListInDB9	Local HMI	RW	10900		Nieokreślony
MySQL_Elements_ListInDB10	Local HMI	RW	11000		Nieokreślony
MySQL_Elements_ListInDB11	Local HMI	RW	11100		Nieokreślony
MySQL_Elements_ListInDB12	Local HMI	RW	11200		Nieokreślony
MySQL_Elements_ListInDB13	Local HMI	RW	11300		Nieokreślony
MySQL_Elements_ListInDB14	Local HMI	RW	11400		Nieokreślony
MySQL_Elements_ListInDB15	Local HMI	RW	11500		Nieokreślony
MySQL_Elements_ListInDB16	Local HMI	RW	11600		Nieokreślony
MySQL_Elements_ListInDB17	Local HMI	RW	11700		Nieokreślony
MySQL_Elements_ListInDB18	Local HMI	RW	11800		Nieokreślony
MySQL_Elements_ListInDB19	Local HMI	RW	11900		Nieokreślony
MySQL_Elements_ListInDB20	Local HMI	RW	12000		Nieokreślony
HMI_Elements_NumberToExecute	Local HMI	RW	12100		32-bit Signed
HMI_Elements_ListToExecute1	Local HMI	RW	12200		Nieokreślony
HMI_Elements_ListToExecute2	Local HMI	RW	12300		Nieokreślony
HMI_Elements_ListToExecute3	Local HMI	RW	12400		Nieokreślony
HMI_Elements_ListToExecute4	Local HMI	RW	12500		Nieokreślony
HMI_Elements_ListToExecute5	Local HMI	RW	12600		Nieokreślony
HMI_Elements_ListToExecute6	Local HMI	RW	12700		Nieokreślony
HMI_Elements_ListToExecute7	Local HMI	RW	12800		Nieokreślony
HMI_Elements_ListToExecute8	Local HMI	RW	12900		Nieokreślony
HMI_Elements_ListToExecute9	Local HMI	RW	13000		Nieokreślony
HMI_Elements_ListToExecute10	Local HMI	RW	13100		Nieokreślony
HMI_Elements_ListToExecute11	Local HMI	RW	13200		Nieokreślony
HMI_Elements_ListToExecute12	Local HMI	RW	13300		Nieokreślony
HMI_Elements_ListToExecute13	Local HMI	RW	13400		Nieokreślony
HMI_Elements_ListToExecute14	Local HMI	RW	13500		Nieokreślony
HMI_Elements_ListToExecute15	Local HMI	RW	13600		Nieokreślony
HMI_Elements_ListToExecute16	Local HMI	RW	13700		Nieokreślony
HMI_Elements_ListToExecute17	Local HMI	RW	13800		Nieokreślony
HMI_Elements_ListToExecute18	Local HMI	RW	13900		Nieokreślony
HMI_Elements_ListToExecute19	Local HMI	RW	14000		Nieokreślony
HMI_Elements_ListToExecute20	Local HMI	RW	14100		Nieokreślony
Process_Pipe_Length	Local HMI	RW	3000		64-bit Double
HMI_Process_Port_NumberSelected	Local HMI	RW	5999		16-bit Signed
HMI_Process_Port_NumberMax	Local HMI	RW	14		16-bit Signed
HMI_Process_Element_Pipe_Diameter	Local HMI	RW	3440		64-bit Double
HMI_Process_Element_Port_Diameter	Local HMI	RW	3450		64-bit Double
HMI_Process_Element_Port_Thickness	Local HMI	RW	84		64-bit Double
HMI_Process_Element_Port_Distance	Local HMI	RW	184		64-bit Double
Process_Pipe_Description	Local HMI	RW	3100		Nieokreślony
Process_Port_Description	Local HMI	RW	3200		Nieokreślony
Process_Pipe_Thickness	Local HMI	RW	3400		64-bit Double
Process_Port_Length	Local HMI	RW	3410		Nieokreślony
Process_Element_Port_WeldAngle	Local HMI	RW	3420		64-bit Double
Process_Element_Port_Angle	Local HMI	RW	3430		Nieokreślony
Process_Plan_Element_AmmountExecuted	Local HMI	RW	3440		Nieokreślony
HMI_Element_Pipe_Diameter_Storage1	Local HMI	RW	6000		64-bit Double
HMI_Element_Pipe_Diameter_Storage2	Local HMI	RW	6004		64-bit Double
HMI_Element_Pipe_Diameter_Storage3	Local HMI	RW	6008		64-bit Double
HMI_Element_Pipe_Diameter_Storage4	Local HMI	RW	6012		64-bit Double
HMI_Element_Pipe_Diameter_Storage5	Local HMI	RW	6016		64-bit Double
HMI_Element_Pipe_Diameter_Storage6	Local HMI	RW	6020		64-bit Double
HMI_Element_Pipe_Diameter_Storage7	Local HMI	RW	6024		64-bit Double
HMI_Element_Pipe_Diameter_Storage8	Local HMI	RW	6028		64-bit Double
HMI_Element_Pipe_Diameter_Storage9	Local HMI	RW	6032		64-bit Double
HMI_Element_Pipe_Diameter_Storage10	Local HMI	RW	6036		64-bit Double
HMI_Element_Pipe_Diameter_Storage11	Local HMI	RW	6040		64-bit Double
HMI_Element_Pipe_Diameter_Storage12	Local HMI	RW	6044		64-bit Double
HMI_Element_Pipe_Diameter_Storage13	Local HMI	RW	6048		64-bit Double
HMI_Element_Pipe_Diameter_Storage14	Local HMI	RW	6052		64-bit Double
HMI_Element_Pipe_Diameter_Storage15	Local HMI	RW	6056		64-bit Double
HMI_Element_Pipe_Diameter_Storage16	Local HMI	RW	6060		64-bit Double
HMI_Element_Pipe_Diameter_Storage17	Local HMI	RW	6064		64-bit Double
HMI_Element_Pipe_Diameter_Storage18	Local HMI	RW	6068		64-bit Double
HMI_Element_Pipe_Diameter_Storage19	Local HMI	RW	6072		64-bit Double
HMI_Element_Pipe_Diameter_Storage20	Local HMI	RW	6076		64-bit Double
HMI_Element_Port_Diameter_Storage1	Local HMI	RW	6100		64-bit Double
HMI_Element_Port_Diameter_Storage2	Local HMI	RW	6104		64-bit Double
HMI_Element_Port_Diameter_Storage3	Local HMI	RW	6108		64-bit Double
HMI_Element_Port_Diameter_Storage4	Local HMI	RW	6112		64-bit Double
HMI_Element_Port_Diameter_Storage5	Local HMI	RW	6116		64-bit Double
HMI_Element_Port_Diameter_Storage6	Local HMI	RW	6120		64-bit Double
HMI_Element_Port_Diameter_Storage7	Local HMI	RW	6124		64-bit Double
HMI_Element_Port_Diameter_Storage8	Local HMI	RW	6128		64-bit Double
HMI_Element_Port_Diameter_Storage9	Local HMI	RW	6132		64-bit Double
HMI_Element_Port_Diameter_Storage10	Local HMI	RW	6136		64-bit Double
HMI_Element_Port_Diameter_Storage11	Local HMI	RW	6140		64-bit Double
HMI_Element_Port_Diameter_Storage12	Local HMI	RW	6144		64-bit Double
HMI_Element_Port_Diameter_Storage13	Local HMI	RW	6148		64-bit Double
HMI_Element_Port_Diameter_Storage14	Local HMI	RW	6152		64-bit Double
HMI_Element_Port_Diameter_Storage15	Local HMI	RW	6156		64-bit Double
HMI_Element_Port_Diameter_Storage16	Local HMI	RW	6160		64-bit Double
HMI_Element_Port_Diameter_Storage17	Local HMI	RW	6164		64-bit Double
HMI_Element_Port_Diameter_Storage18	Local HMI	RW	6168		64-bit Double
HMI_Element_Port_Diameter_Storage19	Local HMI	RW	6172		64-bit Double
HMI_Element_Port_Diameter_Storage20	Local HMI	RW	6176		64-bit Double
HMI_Element_Port_Thickness_Storage1	Local HMI	RW	6200		64-bit Double
HMI_Element_Port_Thickness_Storage2	Local HMI	RW	6204		64-bit Double
HMI_Element_Port_Thickness_Storage3	Local HMI	RW	6208		64-bit Double
HMI_Element_Port_Thickness_Storage4	Local HMI	RW	6212		64-bit Double
HMI_Element_Port_Thickness_Storage5	Local HMI	RW	6216		64-bit Double
HMI_Element_Port_Thickness_Storage6	Local HMI	RW	6220		64-bit Double
HMI_Element_Port_Thickness_Storage7	Local HMI	RW	6224		64-bit Double
HMI_Element_Port_Thickness_Storage8	Local HMI	RW	6228		64-bit Double
HMI_Element_Port_Thickness_Storage9	Local HMI	RW	6232		64-bit Double
HMI_Element_Port_Thickness_Storage10	Local HMI	RW	6236		64-bit Double
HMI_Element_Port_Thickness_Storage11	Local HMI	RW	6240		64-bit Double
HMI_Element_Port_Thickness_Storage12	Local HMI	RW	6244		64-bit Double
HMI_Element_Port_Thickness_Storage13	Local HMI	RW	6248		64-bit Double
HMI_Element_Port_Thickness_Storage14	Local HMI	RW	6252		64-bit Double
HMI_Element_Port_Thickness_Storage15	Local HMI	RW	6256		64-bit Double
HMI_Element_Port_Thickness_Storage16	Local HMI	RW	6260		64-bit Double
HMI_Element_Port_Thickness_Storage17	Local HMI	RW	6264		64-bit Double
HMI_Element_Port_Thickness_Storage18	Local HMI	RW	6268		64-bit Double
HMI_Element_Port_Thickness_Storage19	Local HMI	RW	6272		64-bit Double
HMI_Element_Port_Thickness_Storage20	Local HMI	RW	6276		64-bit Double
HMI_Element_Port_WeldAngle_Storage1	Local HMI	RW	6300		16-bit Signed
HMI_Element_Port_WeldAngle_Storage2	Local HMI	RW	6304		16-bit Signed
HMI_Element_Port_WeldAngle_Storage3	Local HMI	RW	6308		16-bit Signed
HMI_Element_Port_WeldAngle_Storage4	Local HMI	RW	6312		16-bit Signed
HMI_Element_Port_WeldAngle_Storage5	Local HMI	RW	6316		16-bit Signed
HMI_Element_Port_WeldAngle_Storage6	Local HMI	RW	6320		16-bit Signed
HMI_Element_Port_WeldAngle_Storage7	Local HMI	RW	6324		16-bit Signed
HMI_Element_Port_WeldAngle_Storage8	Local HMI	RW	6328		16-bit Signed
HMI_Element_Port_WeldAngle_Storage9	Local HMI	RW	6332		16-bit Signed
HMI_Element_Port_WeldAngle_Storage10	Local HMI	RW	6336		16-bit Signed
HMI_Element_Port_WeldAngle_Storage11	Local HMI	RW	6340		16-bit Signed
HMI_Element_Port_WeldAngle_Storage12	Local HMI	RW	6344		16-bit Signed
HMI_Element_Port_WeldAngle_Storage13	Local HMI	RW	6348		16-bit Signed
HMI_Element_Port_WeldAngle_Storage14	Local HMI	RW	6352		16-bit Signed
HMI_Element_Port_WeldAngle_Storage15	Local HMI	RW	6356		16-bit Signed
HMI_Element_Port_WeldAngle_Storage16	Local HMI	RW	6360		16-bit Signed
HMI_Element_Port_WeldAngle_Storage17	Local HMI	RW	6364		16-bit Signed
HMI_Element_Port_WeldAngle_Storage18	Local HMI	RW	6368		16-bit Signed
HMI_Element_Port_WeldAngle_Storage19	Local HMI	RW	6372		16-bit Signed
HMI_Element_Port_WeldAngle_Storage20	Local HMI	RW	6376		16-bit Signed
HMI_Element_Port_WeldType_Storage1	Local HMI	RW	6400		16-bit Signed
HMI_Element_Port_WeldType_Storage2	Local HMI	RW	6404		16-bit Signed
HMI_Element_Port_WeldType_Storage3	Local HMI	RW	6408		16-bit Signed
HMI_Element_Port_WeldType_Storage4	Local HMI	RW	6412		16-bit Signed
HMI_Element_Port_WeldType_Storage5	Local HMI	RW	6416		16-bit Signed
HMI_Element_Port_WeldType_Storage6	Local HMI	RW	6420		16-bit Signed
HMI_Element_Port_WeldType_Storage7	Local HMI	RW	6424		16-bit Signed
HMI_Element_Port_WeldType_Storage8	Local HMI	RW	6428		16-bit Signed
HMI_Element_Port_WeldType_Storage9	Local HMI	RW	6432		16-bit Signed
HMI_Element_Port_WeldType_Storage10	Local HMI	RW	6436		16-bit Signed
HMI_Element_Port_WeldType_Storage11	Local HMI	RW	6440		16-bit Signed
HMI_Element_Port_WeldType_Storage12	Local HMI	RW	6444		16-bit Signed
HMI_Element_Port_WeldType_Storage13	Local HMI	RW	6448		16-bit Signed
HMI_Element_Port_WeldType_Storage14	Local HMI	RW	6452		16-bit Signed
HMI_Element_Port_WeldType_Storage15	Local HMI	RW	6456		16-bit Signed
HMI_Element_Port_WeldType_Storage16	Local HMI	RW	6460		16-bit Signed
HMI_Element_Port_WeldType_Storage17	Local HMI	RW	6464		16-bit Signed
HMI_Element_Port_WeldType_Storage18	Local HMI	RW	6468		16-bit Signed
HMI_Element_Port_WeldType_Storage19	Local HMI	RW	6472		16-bit Signed
HMI_Element_Port_WeldType_Storage20	Local HMI	RW	6476		16-bit Signed
HMI_Element_Port_Distance_Storage1	Local HMI	RW	6900		64-bit Double
HMI_Element_Port_Distance_Storage2	Local HMI	RW	6904		64-bit Double
HMI_Element_Port_Distance_Storage3	Local HMI	RW	6908		64-bit Double
HMI_Element_Port_Distance_Storage4	Local HMI	RW	6912		64-bit Double
HMI_Element_Port_Distance_Storage5	Local HMI	RW	6916		64-bit Double
HMI_Element_Port_Distance_Storage6	Local HMI	RW	6920		64-bit Double
HMI_Element_Port_Distance_Storage7	Local HMI	RW	6924		64-bit Double
HMI_Element_Port_Distance_Storage8	Local HMI	RW	6928		64-bit Double
HMI_Element_Port_Distance_Storage9	Local HMI	RW	6932		64-bit Double
HMI_Element_Port_Distance_Storage10	Local HMI	RW	6936		64-bit Double
HMI_Element_Port_Distance_Storage11	Local HMI	RW	6940		64-bit Double
HMI_Element_Port_Distance_Storage12	Local HMI	RW	6944		64-bit Double
HMI_Element_Port_Distance_Storage13	Local HMI	RW	6948		64-bit Double
HMI_Element_Port_Distance_Storage14	Local HMI	RW	6952		64-bit Double
HMI_Element_Port_Distance_Storage15	Local HMI	RW	6956		64-bit Double
HMI_Element_Port_Distance_Storage16	Local HMI	RW	6960		64-bit Double
HMI_Element_Port_Distance_Storage17	Local HMI	RW	6964		64-bit Double
HMI_Element_Port_Distance_Storage18	Local HMI	RW	6968		64-bit Double
HMI_Element_Port_Distance_Storage19	Local HMI	RW	6972		64-bit Double
HMI_Element_Port_Distance_Storage20	Local HMI	RW	6976		64-bit Double
Size check	Local HMI	LW	0		32-bit Float
PLC_Process_ActualStep	Fatek PLC	R	14		16-bit Signed
PLC_Process_AngleWhole	Fatek PLC	R	154		Nieokreślony
PLC_Process_Speed_Weld	Fatek PLC	R	152		Nieokreślony
PLC_Process_Speed_Cut	Fatek PLC	R	150		Nieokreślony
PLC_Process_Port_NumberSelected	Fatek PLC	R	5999		16-bit Unsigned
PLC_Process_Port_NumberMax	Fatek PLC	R	5997		16-bit Unsigned
PLC_Process_Element_Pipe_Diameter	Fatek PLC	R	158		16-bit Unsigned
PLC_Process_Element_Port_Diameter	Fatek PLC	R	160		16-bit Unsigned
PLC_Process_Element_Port_Thickness	Fatek PLC	R	84		16-bit Unsigned
PLC_Process_Element_Port_Distance	Fatek PLC	R	184		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage0	Fatek PLC	R	6000		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage1	Fatek PLC	R	6002		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage2	Fatek PLC	R	6004		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage3	Fatek PLC	R	6006		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage4	Fatek PLC	R	6008		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage5	Fatek PLC	R	6010		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage6	Fatek PLC	R	6012		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage7	Fatek PLC	R	6014		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage8	Fatek PLC	R	6016		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage9	Fatek PLC	R	6018		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage10	Fatek PLC	R	6020		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage11	Fatek PLC	R	6022		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage12	Fatek PLC	R	6024		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage13	Fatek PLC	R	6026		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage14	Fatek PLC	R	6028		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage15	Fatek PLC	R	6030		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage16	Fatek PLC	R	6032		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage17	Fatek PLC	R	6034		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage18	Fatek PLC	R	6036		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage19	Fatek PLC	R	6038		16-bit Unsigned
PLC_Element_Pipe_Diameter_Storage20	Fatek PLC	R	6040		16-bit Unsigned
PLC_Element_Port_Diameter_Storage0	Fatek PLC	R	6100		16-bit Unsigned
PLC_Element_Port_Diameter_Storage1	Fatek PLC	R	6102		16-bit Unsigned
PLC_Element_Port_Diameter_Storage2	Fatek PLC	R	6104		16-bit Unsigned
PLC_Element_Port_Diameter_Storage3	Fatek PLC	R	6106		16-bit Unsigned
PLC_Element_Port_Diameter_Storage4	Fatek PLC	R	6108		16-bit Unsigned
PLC_Element_Port_Diameter_Storage5	Fatek PLC	R	6110		16-bit Unsigned
PLC_Element_Port_Diameter_Storage6	Fatek PLC	R	6112		16-bit Unsigned
PLC_Element_Port_Diameter_Storage7	Fatek PLC	R	6114		16-bit Unsigned
PLC_Element_Port_Diameter_Storage8	Fatek PLC	R	6116		16-bit Unsigned
PLC_Element_Port_Diameter_Storage9	Fatek PLC	R	6118		16-bit Unsigned
PLC_Element_Port_Diameter_Storage10	Fatek PLC	R	6120		16-bit Unsigned
PLC_Element_Port_Diameter_Storage11	Fatek PLC	R	6122		16-bit Unsigned
PLC_Element_Port_Diameter_Storage12	Fatek PLC	R	6124		16-bit Unsigned
PLC_Element_Port_Diameter_Storage13	Fatek PLC	R	6126		16-bit Unsigned
PLC_Element_Port_Diameter_Storage14	Fatek PLC	R	6128		16-bit Unsigned
PLC_Element_Port_Diameter_Storage15	Fatek PLC	R	6130		16-bit Unsigned
PLC_Element_Port_Diameter_Storage16	Fatek PLC	R	6132		16-bit Unsigned
PLC_Element_Port_Diameter_Storage17	Fatek PLC	R	6134		16-bit Unsigned
PLC_Element_Port_Diameter_Storage18	Fatek PLC	R	6136		16-bit Unsigned
PLC_Element_Port_Diameter_Storage19	Fatek PLC	R	6138		16-bit Unsigned
PLC_Element_Port_Diameter_Storage20	Fatek PLC	R	6140		16-bit Unsigned
PLC_Element_Port_Thickness_Storage0	Fatek PLC	R	6200		16-bit Unsigned
PLC_Element_Port_Thickness_Storage1	Fatek PLC	R	6202		16-bit Unsigned
PLC_Element_Port_Thickness_Storage2	Fatek PLC	R	6204		16-bit Unsigned
PLC_Element_Port_Thickness_Storage3	Fatek PLC	R	6206		16-bit Unsigned
PLC_Element_Port_Thickness_Storage4	Fatek PLC	R	6208		16-bit Unsigned
PLC_Element_Port_Thickness_Storage5	Fatek PLC	R	6210		16-bit Unsigned
PLC_Element_Port_Thickness_Storage6	Fatek PLC	R	6212		16-bit Unsigned
PLC_Element_Port_Thickness_Storage7	Fatek PLC	R	6214		16-bit Unsigned
PLC_Element_Port_Thickness_Storage8	Fatek PLC	R	6216		16-bit Unsigned
PLC_Element_Port_Thickness_Storage9	Fatek PLC	R	6218		16-bit Unsigned
PLC_Element_Port_Thickness_Storage10	Fatek PLC	R	6220		16-bit Unsigned
PLC_Element_Port_Thickness_Storage11	Fatek PLC	R	6222		16-bit Unsigned
PLC_Element_Port_Thickness_Storage12	Fatek PLC	R	6224		16-bit Unsigned
PLC_Element_Port_Thickness_Storage13	Fatek PLC	R	6226		16-bit Unsigned
PLC_Element_Port_Thickness_Storage14	Fatek PLC	R	6228		16-bit Unsigned
PLC_Element_Port_Thickness_Storage15	Fatek PLC	R	6230		16-bit Unsigned
PLC_Element_Port_Thickness_Storage16	Fatek PLC	R	6232		16-bit Unsigned
PLC_Element_Port_Thickness_Storage17	Fatek PLC	R	6234		16-bit Unsigned
PLC_Element_Port_Thickness_Storage18	Fatek PLC	R	6236		16-bit Unsigned
PLC_Element_Port_Thickness_Storage19	Fatek PLC	R	6238		16-bit Unsigned
PLC_Element_Port_Thickness_Storage20	Fatek PLC	R	6240		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage0	Fatek PLC	R	6300		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage1	Fatek PLC	R	6302		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage2	Fatek PLC	R	6304		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage3	Fatek PLC	R	6306		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage4	Fatek PLC	R	6308		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage5	Fatek PLC	R	6310		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage6	Fatek PLC	R	6312		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage7	Fatek PLC	R	6314		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage8	Fatek PLC	R	6316		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage9	Fatek PLC	R	6318		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage10	Fatek PLC	R	6320		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage11	Fatek PLC	R	6322		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage12	Fatek PLC	R	6324		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage13	Fatek PLC	R	6326		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage14	Fatek PLC	R	6328		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage15	Fatek PLC	R	6330		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage16	Fatek PLC	R	6332		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage17	Fatek PLC	R	6334		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage18	Fatek PLC	R	6336		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage19	Fatek PLC	R	6338		16-bit Unsigned
PLC_Element_Port_WeldAngle_Storage20	Fatek PLC	R	6340		16-bit Unsigned
PLC_Element_Port_WeldType_Storage0	Fatek PLC	R	6400		16-bit Unsigned
PLC_Element_Port_WeldType_Storage1	Fatek PLC	R	6402		16-bit Unsigned
PLC_Element_Port_WeldType_Storage2	Fatek PLC	R	6404		16-bit Unsigned
PLC_Element_Port_WeldType_Storage3	Fatek PLC	R	6406		16-bit Unsigned
PLC_Element_Port_WeldType_Storage4	Fatek PLC	R	6408		16-bit Unsigned
PLC_Element_Port_WeldType_Storage5	Fatek PLC	R	6410		16-bit Unsigned
PLC_Element_Port_WeldType_Storage6	Fatek PLC	R	6412		16-bit Unsigned
PLC_Element_Port_WeldType_Storage7	Fatek PLC	R	6414		16-bit Unsigned
PLC_Element_Port_WeldType_Storage8	Fatek PLC	R	6416		16-bit Unsigned
PLC_Element_Port_WeldType_Storage9	Fatek PLC	R	6418		16-bit Unsigned
PLC_Element_Port_WeldType_Storage10	Fatek PLC	R	6420		16-bit Unsigned
PLC_Element_Port_WeldType_Storage11	Fatek PLC	R	6422		16-bit Unsigned
PLC_Element_Port_WeldType_Storage12	Fatek PLC	R	6424		16-bit Unsigned
PLC_Element_Port_WeldType_Storage13	Fatek PLC	R	6426		16-bit Unsigned
PLC_Element_Port_WeldType_Storage14	Fatek PLC	R	6428		16-bit Unsigned
PLC_Element_Port_WeldType_Storage15	Fatek PLC	R	6430		16-bit Unsigned
PLC_Element_Port_WeldType_Storage16	Fatek PLC	R	6432		16-bit Unsigned
PLC_Element_Port_WeldType_Storage17	Fatek PLC	R	6434		16-bit Unsigned
PLC_Element_Port_WeldType_Storage18	Fatek PLC	R	6436		16-bit Unsigned
PLC_Element_Port_WeldType_Storage19	Fatek PLC	R	6438		16-bit Unsigned
PLC_Element_Port_WeldType_Storage20	Fatek PLC	R	6440		16-bit Unsigned
PLC_Element_Port_Distance_Storage0	Fatek PLC	R	6900		16-bit Unsigned
PLC_Element_Port_Distance_Storage1	Fatek PLC	R	6902		16-bit Unsigned
PLC_Element_Port_Distance_Storage2	Fatek PLC	R	6904		16-bit Unsigned
PLC_Element_Port_Distance_Storage3	Fatek PLC	R	6906		16-bit Unsigned
PLC_Element_Port_Distance_Storage4	Fatek PLC	R	6908		16-bit Unsigned
PLC_Element_Port_Distance_Storage5	Fatek PLC	R	6910		16-bit Unsigned
PLC_Element_Port_Distance_Storage6	Fatek PLC	R	6912		16-bit Unsigned
PLC_Element_Port_Distance_Storage7	Fatek PLC	R	6914		16-bit Unsigned
PLC_Element_Port_Distance_Storage8	Fatek PLC	R	6916		16-bit Unsigned
PLC_Element_Port_Distance_Storage9	Fatek PLC	R	6918		16-bit Unsigned
PLC_Element_Port_Distance_Storage10	Fatek PLC	R	6920		16-bit Unsigned
PLC_Element_Port_Distance_Storage11	Fatek PLC	R	6922		16-bit Unsigned
PLC_Element_Port_Distance_Storage12	Fatek PLC	R	6924		16-bit Unsigned
PLC_Element_Port_Distance_Storage13	Fatek PLC	R	6926		16-bit Unsigned
PLC_Element_Port_Distance_Storage14	Fatek PLC	R	6928		16-bit Unsigned
PLC_Element_Port_Distance_Storage15	Fatek PLC	R	6930		16-bit Unsigned
PLC_Element_Port_Distance_Storage16	Fatek PLC	R	6932		16-bit Unsigned
PLC_Element_Port_Distance_Storage17	Fatek PLC	R	6934		16-bit Unsigned
PLC_Element_Port_Distance_Storage18	Fatek PLC	R	6936		16-bit Unsigned
PLC_Element_Port_Distance_Storage19	Fatek PLC	R	6938		16-bit Unsigned
PLC_Element_Port_Distance_Storage20	Fatek PLC	R	6940		16-bit Unsigned
HMI_MySQL_Trigger_PipeDiamSpread_2	Local HMI	LB	2000		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_3	Local HMI	LB	2001		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_4	Local HMI	LB	2002		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_5	Local HMI	LB	2003		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_6	Local HMI	LB	2004		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_7	Local HMI	LB	2005		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_8	Local HMI	LB	2006		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_9	Local HMI	LB	2007		Nieokreślony
HMI_MySQL_Trigger_PipeDiamSpread_10	Local HMI	LB	2008		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName1	Local HMI	LB	10		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName2	Local HMI	LB	11		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName3	Local HMI	LB	12		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName4	Local HMI	LB	13		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName5	Local HMI	LB	14		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName6	Local HMI	LB	15		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName7	Local HMI	LB	16		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName8	Local HMI	LB	17		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName9	Local HMI	LB	18		Nieokreślony
HMI_MySQL_Trigg_RewritePlanName10	Local HMI	LB	19		Nieokreślony
HMI_MySQL_Trigg_SelectedList	Local HMI	LB	0		Nieokreślony
HMI_MySQL_Trigg_ResultCountPassToList	Local HMI	LB	1		Nieokreślony
HMI_MySQL_Trigg_Elements_SelectedList	Local HMI	LB	10		Nieokreślony
HMI_MySQL_Trigg_Elements_ResultCountPassToList	Local HMI	LB	11		Nieokreślony
HMI_List_RefreashDIsplay	Local HMI	RW	301		Nieokreślony
HMI_List_Something	Local HMI	RW	300		Nieokreślony
HMI_List_ListCount	Local HMI	RW	302		Nieokreślony
PLC_Process_Cuting_Execute	Fatek PLC	M	105		Nieokreślony
PLC_Process_Welding_Execute	Fatek PLC	M	106		Nieokreślony
PLC_Process_Welding_ProcessType	Fatek PLC	R	156		16-bit Signed
PLC_Process_Welding_StartTime	Fatek PLC	R	166		16-bit Signed
PLC_Process_Welding_StopTime	Fatek PLC	R	167		16-bit Signed
PLC_Process_Cuting_StartTime	Fatek PLC	R	168		16-bit Signed
PLC_Process_Cuting_StopTime	Fatek PLC	R	169		16-bit Signed
PLC_Process_Welding_Osc_Width	Fatek PLC	R	465		16-bit Signed
PLC_Process_Welding_Osc_Speed_Perc	Fatek PLC	R	471		16-bit Signed
PLC_Process_Welding_Osc_Stop1	Fatek PLC	R	482		16-bit Signed
PLC_Process_Welding_Osc_Stop2	Fatek PLC	R	484		16-bit Signed
PLC_HandMove_Rotation	Fatek PLC	R	162		16-bit Signed
PLC_HandMove_UpDown	Fatek PLC	R	164		16-bit Signed
PLC_HandMove_Torches	Fatek PLC	R	200		16-bit Signed
PLC_HandMove_MoveAlong	Fatek PLC	R	204		16-bit Signed
PLC_HandMove_PresureUp	Fatek PLC	M	102		Nieokreślony
PLC_HandMove_PresureRelese	Fatek PLC	M	103		Nieokreślony
PLC_HandMove_PresureDown	Fatek PLC	M	104		Nieokreślony
PLC_Process_Cutting_TorchPosition_Set	Fatek PLC	R	192		16-bit Signed
PLC_Process_Cutting_TorchPosition_Actual	Fatek PLC	R	904		16-bit Signed
PLC_Process_AlongMove_Position_Set	Fatek PLC	R	196		16-bit Signed
PLC_Process_AlongMove_Positon_Actual	Fatek PLC	R	140		16-bit Signed
PLC_Data_Axis1_Position	Fatek PLC	R	8		16-bit Signed
PLC_Data_Axis2_Position	Fatek PLC	R	96		16-bit Signed
PLC_Data_Axis3_Position	Fatek PLC	R	904		16-bit Signed
PLC_Data_Axis4_Position	Fatek PLC	R	906		16-bit Signed
PLC_Data_Axis5_Position	Fatek PLC	R	914		16-bit Signed
PLC_Data_Axis1_Error	Fatek PLC	R	1210		16-bit Signed
PLC_Data_Axis2_Error	Fatek PLC	R	1310		16-bit Signed
PLC_Data_Axis5_Error	Fatek PLC	R	1410		16-bit Signed
PLC_Data_Axis1_Present_Setting	Fatek PLC	M	1300		Nieokreślony
PLC_Data_Axis1_Present_Current	Fatek PLC	M	240		Nieokreślony
PLC_Data_Axis2_Present_Setting	Fatek PLC	M	1301		Nieokreślony
PLC_Data_Axis2_Present_Current	Fatek PLC	M	250		Nieokreślony
PLC_Data_Axis3_Present_Setting	Fatek PLC	M	1304		Nieokreślony
PLC_Data_Axis3_Present_Current	Fatek PLC	M	250		Nieokreślony
PLC_Data_Axis4_Present_Setting	Fatek PLC	M	1305		Nieokreślony
PLC_Data_Axis4_Present_Current	Fatek PLC	M	250		Nieokreślony
PLC_Data_Axis5_Present_Setting	Fatek PLC	M	1305		Nieokreślony
PLC_Data_Axis5_Present_Current	Fatek PLC	M	260		Nieokreślony
PLC_Data_PLC2_Present_Setting	Fatek PLC	M	1302		Nieokreślony
PLC_Data_PLC2_Present_Current	Fatek PLC	M	220		Nieokreślony
PLC_Data_PLC3_Present_Setting	Fatek PLC	M	1303		Nieokreślony
PLC_Data_PLC3_Present_Current	Fatek PLC	M	230		Nieokreślony
PLC_Data_Axis1_OutPosition	Fatek PLC	R	138		16-bit Signed
PLC_Data_Axis2_OutPosition	Fatek PLC	R	142		16-bit Signed
PLC_Data_Axis3_4_OutPosition	Fatek PLC	R	138		Nieokreślony
PLC_Data_Axis5_OutPosition	Fatek PLC	R	142		16-bit Signed
PLC_Process_MaxSteps	Fatek PLC	R	17		16-bit Signed
PLC_Process_SaddlePathMaxPoints	Fatek PLC	R	116		16-bit Signed
PLC_Process_LinearSpeed_Limit	Fatek PLC	R	328		16-bit Signed
PLC_Data_Axis5_RecalibrationAfterAll	Fatek PLC	M	1327		Nieokreślony
PLC_Data_Axis5_CorrectAccordingToEnconerThroughModbus	Fatek PLC	M	1330		Nieokreślony
PLC_Data_ProcessStepsCount	Fatek PLC	R	450		16-bit Signed
PLC_Data_Cuting_Time_Count	Fatek PLC	R	7010		16-bit Signed
PLC_Data_Welding1step_Time_Count	Fatek PLC	R	7014		16-bit Signed
PLC_Data_Welding4step_Time_Count	Fatek PLC	R	7016		16-bit Signed
PLC_Data_Cutting_Time_Avg	Fatek PLC	R	7020		16-bit Signed
PLC_Data_Welding1step_Time_Avg	Fatek PLC	R	7024		16-bit Signed
PLC_Data_Welding4step_Time_Avg	Fatek PLC	R	7026		16-bit Signed
PLC_Data_1+3_Time_Count	Fatek PLC	R	7070		16-bit Signed
PLC_Data_1+2+3_Time_Count	Fatek PLC	R	7072		16-bit Signed
PLC_Data_1+4_Time_Count	Fatek PLC	R	7074		16-bit Signed
PLC_Data_1+2+4_Time_Count	Fatek PLC	R	7076		16-bit Signed
PLC_Data_1+3_TimeAvg	Fatek PLC	R	7090		16-bit Signed
PLC_Data_1+2+3_TimeAvg	Fatek PLC	R	7092		16-bit Signed
PLC_Data_1+4_TimeAvg	Fatek PLC	R	7094		16-bit Signed
PLC_Data_1+2+4_TimeAvg	Fatek PLC	R	7096		16-bit Signed
PLC_Data_Statistics_Reset	Fatek PLC	M	110		Nieokreślony
PLC_Data_Reciepie_Save	Fatek PLC	M	338		Nieokreślony
PLC_Data_Reciepie_Load	Fatek PLC	M	339		Nieokreślony
PLC_Data_Reciepie_AutoIncrement	Fatek PLC	M	1310		Nieokreślony
PLC_Data_Reciepie_AutoRepeat	Fatek PLC	M	1311		Nieokreślony
PLC_Data_2+3_TimeAvg	Fatek PLC	R	7098		16-bit Signed
PLC_Data_2+4_TimeAvg	Fatek PLC	R	7100		16-bit Signed
PLC_Data_2+3_Time_Count	Fatek PLC	R	7078		16-bit Signed
PLC_Data_2+4_Time_Count	Fatek PLC	R	7080		16-bit Signed
PLC_Data_processes_Count	Fatek PLC	D	450		16-bit Signed